## Slide 1: SiPM HV Board (Box Concept)

## Slide 2
Telemetry Supply (+5V)
Telem V+
Telem RTN
Telem V+
Telem RTN
V_SEC
V_SEC_RTN
V_SEC
V_SEC_RTN
+5V
+12V
V_SEC
V_SEC_RTN
V_SEC
V_SEC_RTN
+12V
1
SiPM HV Board
9-Pos D-Sub
SMA
Telem V+
Telem RTN
V_SEC
V_SEC_RTN
2
SiPM HV Board
9-Pos D-Sub
SMA
Telem V+
Telem RTN
V_SEC
V_SEC_RTN
9
SiPM HV Board
9-Pos D-Sub
SMA
SiPM PDU BOX
Indicator LED outside of box
15-Pos D-Sub
Telem V+
Telem RTN
V_SEC
V_SEC_RTN
+2V
-2V
RTN
SiPM LV (+/- 2V Rails)

## Slide 3: SiPM HV Board (Schematic Design)

## Slide 4
LVDS Receiver
3.3V Logic for Enable Signal

## Slide 5
Safety Fuse
Zap Trap
Prevents any drift between HV and LV Returns
Keeps telemetry and secondary returns from drifting away from each other
DC-DC Converter Supplying SiPM with HV

## Slide 6
(DNP)
Q1 Notes:
  Pins 1 and 2 on Telemetry return plane
  Pins 3 and 4 on the secondary return plane
R5 is a DNP, as Enable pin within 1/16A12-P4 converter should be tied to V_POS via 10k resistor. If not, install R5.
HV Enable Circuitry

## Slide 7
Telemetry Circuitry
Setting the HV Level
HV Current Monitor
Current Monitor is outputting a voltage
High Voltage Monitor
Indicator LED
Shares Input from High Voltage Mon circuit.
R24 keeps M3 off when not driven by U2D.